Use this file to make the paper label for the “PentaMetric display unit” to identify the function of the 5 data select switches according to your specific application.  The label will go into the plastic pocket on the front.

Use Microsoft  “WORD” to edit the text that describes the function of each switch. You may want to use different font sizes to fit the text, or use bold to emphasize certain text. Start with any of the samples below and modify it the way you want.

Use program mode P1 (of the PentaMetric)  to select the display items that  will be assigned to the top leftmost switch. Program modes P2 through P5 should be used similarly to program the 2nd through 5th switch. See section 6.A  under “P1-P5” of the PentaMetric instructions for how to do this.

Use program modes P6 through P9 to specify which prefix you wish to identify the  Amps , Amp-hour, and Watt hour channels when viewing these items on the front panel LCD display.  Your choices are   “Sol”, “Wind” “Hydro”  “Batt”  ‘”Bat1/2” or “#1, 2 or 3.  ”See section 6.A  under “P6-P9” of the PentaMetric instructions for more specific programming information.

Print this on some light colored heavy paper or card stock.  . Cut out carefully with scissors or matt knife on the rectangular border.  Insert into the plastic pocket of the PentaMetric display unit front panel.

VOLTS

BATT2

BATT1

AMPS

AMPS 3

AMPS 2

AMPS 1

AMP-HR

AMP-HR 3

AMP-HR 2

AMP-HR 1

BATT %FUL

DAYS AGO

CHARGED

BATTERY

VOLTS

AMPS

BATTERY

BATT %FUL

DAYS AGO

CHARGED

SOLAR

WATTS

AMPS

AMP-HR

WIND

AMPS

AMP-HR

Sample 1. PentaMetric factory default label. Note these 	   	Sample 2.  One battery system with solar & wind input, grouped by “volts”, “amps”, “amp-hr. plus 2 miscellaneous.			grouped by the device being measured.

BATTERY

VOLTS

AMPS

SOLAR

AMPS

AMP-HR

WATTS

DAYS AGO

CHARGED

BATT %FUL

BATT CYCLE EFFICIENCY

VOLTS

BATT1

BATT 2

AMPS

BATT 1

BATT

SOLAR

AMP-HR

BATT 1

BATT 2

SOLAR

BATT %FUL

DAYS AGO

CHARGED

SOLAR

WATTS

WATT-HR

Sample 3: Two battey systems with monitoring of solar input.	       Sample4: One battery system with solar only.

Main headings at top.

BATT1

BATT 2

VOLTS

BATT

SOLAR

WIND

AMPS

BATT

SOLAR

WIND

AMP-HR

BATT %FUL

DAYS AGO

CHARGED

BATTERY

VOLTS

AMPS

WATTS

BATTERY

BATT %FUL

DAYS AGO

CHARGED

DC LOAD

WATTS

AMPS

AMP-HR

SOLAR

AMPS

AMP-HR

SYSTEM

BATT CYCLE EFFICIENCY

Sample 5: This shows the main headings at bottom			Sample 6:

File: PentaMetric Label Template Ver.1

Bogart Engineering

19020 Two Bar Road

Boulder Creek, CA 95006

(831) 338-0616